| Crystals of Siberia # Solutions for laser systems CRYSTALS of SIBERIA Ltd. 43, Russkaya str. Novosibirsk 630058 Russia Tel/Fax: + 7 383 330 90 44 oksana@ssc.nsib.ru | #### Attn: I. N. Nesterenko |
| --- | --- |

## QUOTATION

Item 1.

LBO crystal,  SHG

Dimensions:  8 mm(W) x 8 mm(H) x 25 mm(L)

Cutting angle:

Theta: 90 degrees

Phi: 11.6 degrees

Anti-reflection Coating:

DBAR@1064+532 nm both sides

Quantity: 1 element

Price:   $2070  per element

Item 2.

LBO crystal,  THG

Dimensions:  8 mm(W) x 8 mm(H) x 25 mm(L)

Cutting angle:

Theta: 90 degrees

Phi: 37.2 degrees

Anti-reflection Coating:

DBAR@1064+532 nm sides1

DBAR@355 nm sides2

Quantity: 1 element

Price:   $2070  per element

The specifications for crystals are guaranteed:

Tolerance of dimensions (aperture):    +0.1/-0.1 mm

Tolerance of dimensions (length):    +0.5/-0.3 mm

Accuracy of Orientation:    < 0.5  degrees

Optical surface quality:      10/5 scratch/dig

Flatness (at =633nm):      /8

Parallelism:         	         20 arcsec

Perpendicularity:                 15  arcmin

Delivery insurance, packing and custom charges:$150-200

Terms of price: CIP USA via UPS delivery agent

Payment Terms: 30 days after invoice date, but after receipt of goods at the carryover

Please, contact for more   information.

Best regards,

Oksana V. Kizko,

Director